## Bonn Dam Robbins Is.
Bonneville Dam - Robbins Island
Date | Time | Action | Parameter | Status
2003-11-07 |  | Calibrated in lab | Nox | Field ready
2003-12-03 |  | Ran first filter | IAS | Start data collection
2003-12-10 |  | Installed | 8400S
|  | Installed | 8400N
|  | Installed | ECOC
| 1301PST | Installed | Nox | Enabled - start data collection
| 1310PST | Installed | SO2 | Enabled - start data collection
| approx. 1300PST | Installed | DRUM | Start data collection
|  | Installed | IAS
2003-12-17 | 1400PST |  | OCEC | Enabled - start data collection
2003-12-30 | est. 1500PST | Ran 1st Audit | 8400S | Enabled - start data collection
|  | Ran 1st Audit | 8400N | Enabled - start data collection
2004-01-06 | 2400PST | flash strip failure | 8400S | Missing data 1/6 @ 2400PST through 1/12 @1020PST
2004-01-30 | 0930PST - 1505PST | monthly maint. | 8400S | off-line
| 0930PST - 1505PST | monthly maint. | 8400N | off-line
2004-02-12 |  | last filter ran | IAS | end of sampling until 7/2/04
2004-02-20 | 1109PST | Adj. orifice flow from 8.0 to 5.0 | 8400N | OK
2004-02-25 | 1225PST | Adj. orifice flow from 0.0 to 4.5 | 8400N | OK
2004-02-27 |  | Removed | DRUM | End sample
2004-03-02 | 0730PST | Flash failure | 8400S | Stop data collection
2004-03-03 | 1435PST | changed flash strip | 8400S | OK
| 1500PST | shut down | OCEC | end of season
2004-03-04 |  | Performed exit audit | Nox | Passed
2004-03-08 | 1543PST | shut down | 8400S | end of season
|  | shut down | 8400N | end of season
|  | shut down | NOx | end of season
|  | shut down | SO2 | end of season

## Bonn Dam Cascade Is.
Bonneville Dam - Cascade Island
Date | Time | Action | Parameter | Status
2004-06-03 |  | Recalibrated in lab | Field ready | Nox
2004-06-04 |  | Recalibrated in lab | Field ready | SO2
2004-06-29 | 1026PST | Installed | DRUM
|  |  | IAS | Installed
| 1326PST | Installed | 8400N | Enabled - start data collection
| 1326PST | Installed | 8400S | Enabled - start data collection
| 1356PST | Installed | SO2 | Enabled - start data collection
| 1517PST | Installed | Nox | Enabled - start data collection
2004-06-30 |  | Installed | OCEC | Enabled - start data collection
2004-07-02 |  |  | IAS | Ran first filter
2004-07-04 | 0010-2350PST |  | 8400S | Data missing - Problems w/status codes,
sample flow and pressure.
2004-07-06 | 1140PST |  | DRUM | Start sampling
|  | sample flow, pressure & H2O problems | 8400S | Unresolved
2004-07-08 | 1313PST | Adjusted cell pressure - resolved problems | 8400S | Back in service
|  | Connected analyzer to d. logger | Nox | ch 2-NO2, ch 3-NO, ch4-Nox
2004-07-12 |  | Manual audit failed - recalibrated | 8400S
|  | Rewired analyzer to d. logger | Nox | ch 2-NO, ch 3-No2, ch 4-NOx
2004-07-19 | 1205PST | Updated software | OCEC
2004-07-26 |  |  |  | Warm Springs fire effecting Nephs?
2004-08-03 | 1240PST | Manual audit failed - recalibrated | 8400S
| 1240PST | Sample flow warning | 8400N | Cleared
| 1442PST | Replaced broken tube in analyzer | OCEC | Sample to begin at 1600PST
2004-08-12 |  | Sample flow warning | 8400N | Cleared
2004-08-15 | 0420PST | Sample flow warning | 8400N
Bonneville Dam - Cascade Island (Page 2)
Date | Time | Action | Parameter | Status
2004-08-17 | 1145PST | Unplugged | DRUM | End of sample cycle
2004-08-19 | 1130PST | Installed | DRUM | New sampling cycle started
2004-08-20 |  | Sample flow warning | 8400N | cleared
2004-08-23 | 0310PST | Flash failure | 8400S | Data missing due to flash failure
2004-08-24 | 1030PST | Flash strip replaced | 8400S | flash fault not corrected
| 0947PST | Sample flow warning | 8400N | cleared
2004-08-27 | 1330PST | Reset flash fault | 8400S | Back on line
| 1318PST | Sample flow warning | 8400N | cleared
2004-08-30 | 1045PST | Sample flow warning/orifice flow low - adjusted | 8400N | OK
2004-09-16 | 1110PST | Sample flow warning | 8400N | Cleared
2004-09-21 | 0800PST | Sample flow warning | 8400N | cleared
2004-09-26 | 1400PST | Sample flow warning | 8400N | cleared
2004-09-29 | 0930PST | Sample flow warnings caused by scheduled | 8400N | problem resolved
audits running with no gas.
Rescheduled to run zero audits
2004-09-29 | 0845PST | Ended cycle | DRUM | Started new cycle
2004-10-06 |  | Installed | Sodar | No data collection
2004-10-18 |  | Software upgraded | OCEC | gas warning interrupted collection
2004-10-19 | 1700PST | Reset new software/checked gases | OCEC | Back on line
2004-11-02 |  | Download done incorrectly | 8400N | Missing data 10/25 @ 0840PST through
|  |  | 8400S | 10/31 @ 1040PST
2004-11-10 | 1040PST | Flash failure | 8400S | Data stopped
Bonneville Dam - Cascade Island (Page 3)
Date | Time | Action | Parameter | Status
2004-11-12 | 1350PST | changed and reset flash strip | 8400S | OK
2004-11-20 | 0150PST | Orifice plugged - lost sample flow | 8400S
2004-11-22 | 0930PST | Cleaned sample orifice | 8400S
|  | Failed manual audit - recalibrated | 8400S | Back in service 1350PST
2004-11-26 | 1300PST | Sample flow warning | 8400N | adjusted & cleared
2004-11-30 | 1308PST | Routine maintenance | OCEC | OK
2004-12-02 |  | Ended cycle | DRUM | Started new cycle
2004-12-06 |  | Performed primary calibration | SO2 | OK
|  | Performed primary calibration | Nox | OK
2004-12-07 | 1230PST | Sodar system configured | Sodar | On line - start data collection
2004-12-21 | 2210PST | Flash failure | 8400S | Data stopped
2004-12-22 | 1400PST | changed flash strip & reset | 8400S | OK
2005-01-03 | 1640PST | Pump failure | 8400N | Stopped data collection
2005-01-04 | 0930PST | Switched pumps | 8400N | Back in service
|  | Switched pumps | 8400S | out of service at 0930PST
2005-01-07 | 1400PST | Rebuilt pump | 8400S | Back in service 1400PST
2005-01-10 | 1100PST | Switched pumps between S & N | 8400S | OK
|  | Newly rebuilt pump on 8400N | 8400N | OK
2005-01-12 | 1000PST | Ended cycle | DRUM | Started new cycle
2005-01-17 | 0744PST | No He gas - system shutdown | OCEC | No data collection
2005-01-19 | 1200PST | Changed He tank | OCEC | On line - start data collection
2005-01-21 | 1650PST | Cross Flow failure | 8400N | Flagged data until corrected
Bonneville Dam - Cascade Island (Page 4)
Date | Time | Action | Parameter | Status
2005-01-24 | 0930PST | Adjusted N2 Tank to correct cross flow | 8400N | OK
2005-02-02 |  | Aqueous standards bad - too soon after | 8400N | OK
|  | replacing flash strips | 84800S | OK
2005-02-21 |  | Last filter ran | IAS | End of study
2004-02-22 | 1150PST | Manual audit failed - recalibrated | 8400S | OK
2005-02-23 | 0945PST | Removed from service | IAS | End of study
|  |  | DRUM | End of study
2005-02-24 |  | Performed exit Audit | Nox | Passed
2005-02-25 |  | Performed exit Audit | SO2 | Passed
| 0900PST | Power failure - system reset | 8400N | Codes cleared on 2/28
2005-02-26 | 1050PST | Flash failure | 8400S | Stop data collection
2005-02-28 | 1130PST | Replaced flash strip | 8400S | Back on line
|  | Flag data | OCEC | Unusual EC event (?)
2005-03-03 | 1230PST | Aqueous stds. | 8400N | OK
|  | Aqueous stds. | 8400S | OK
| 1531PST | Shut down - remove from service | 8400N | End of study
|  | Shut down - remove from service | 8400S | End of study
|  | Shut down - remove from service | Nox | End of study
|  | Shut down - remove from service | SO2 | End of study
2005-03-10 | 1200PST | Auto shutdown - "check gases" | OCEC | Data collection stopped
2005-03-16 | 1100PST | Checked gases, reset & restarted | OCEC | Back on line

## Mt. Zion
MT. ZION
Date | Time | Action | Parameter | Status
2003-07-01 |  |  | Neph | On line and collecting data
|  |  | Aeth | On line and collecting data
|  |  | TEMP | On line and collecting data
|  |  | WD | On line and collecting data
|  |  | WS | On line and collecting data
|  |  | RH | Channel disabled - we may access IMPROV Rh
2004-06-16 |  | Installed | DRUM | Idle
2004-06-24 |  | Installed | OCEC | Idle
2004-06-29 |  | Installed | 8400S
|  | Installed | 8400N
|  | Installed | Nox | Enabled - start data collection
|  | Installed | SO2 | Enabled - start data collection
2004-06-30 | 0917PST | Placed into service | DRUM | Start data collection
|  |  | OCEC | Start data collection
| 1105PST |  | 8400N | Start data collection
2004-07-02 | 0100PST | Power failure | OCEC | Shutdown - did not do auto-restart
2004-07-07 | 1100PST | Restarted | OCEC | OK
|  | Recal zero & span | 8400N | OK
| 1535PST | Recal zero & span | 8400S | Start data collection
2004-07-19 | 0740PST | Flash failure | 8400S | data stop
| 1250PST | Replaced flash strip | 8400S | back on line
2004-08-16 | 1040PST | Manual audit failure - recalibrated | 8400N
|  | Manual audit failure - attempt recal | 8400S | Low flow - unable to trouble-shoot
2004-08-19 | 1000PST | End cycle | DRUM | Start new cycle
|  | Reseated in-line filter, recalibrated | 8400S | Back on line at
2004-08-26 | 1336PST | Temp erratic during audit | Temp | Left off-line
2004-08-31 |  | Missed download last week | 8400N | Missing data 08/16 @ 0950PST through
|  | Missed download last week | 8400S | 08/23 @ 1200PST
|  | Update software/maint. | OCEC OK
MT. ZION (Page 2
Date | Time | Action | Parameter | Status
2004-09-08 | 1000PST | Steady State failure - recalibrated | 8400S | Back in service 1000PST
2004-09-29 | 0737PST | End of cycle | DRUM | Start new cycle
2004-10-18 | ? | Heater element burned out | OCEC | Shut-down until element can be replaced
2004-10-19 | 1500PST | New heater element & filters/ | OCEC | start data collection
updated software
| 1330PST | Manual audit failure - recalibrated | 8400S | OK
2004-11-09 | 0310PST | Flash failure | 8400S | Data missing due to flash failure
2004-11-10 | 1040PST | Replaced flash strip | 8400S | Back on line
| 2400PST | He gas getting low | OCEC | Shut down
2004-11-17 | 1315PST | Manually restarted. Flow at 8.12 lpm | OCEC | OK
2004-11-21 | ? | He gas out | OCEC | Shutdown
2004-11-22 | 1200PST | Replace tank & restarted | OCEC | OK
2004-11-29 | ? | Removed from service | OCEC | End of season - moving to Wishram
|  | Removed from service | Nox | End of season - moving to Wishram
|  | Removed from service | SO2 | End of season - moving to Wishram
|  | Removed from service | 8400S | End of season - moving to Wishram
|  | Removed from service | 8400N | End of season - moving to Wishram
2004-12-01 | 1200PST | Remove from service | DRUM | End of season - moving to Wishram
2005-02-16 | 1120PST | Did not disable during pc | Neph | Back in service 1150PST
2005-02-28 | 2400PST |  |  | End of Gorge Visibility study.

## Wishram
WISHRAM
Date | Time | Action | Parameter | Status
2003-07-02 |  | Previously installed and operating | Nephelometer | OK
|  | Previously installed and operating | Aethelometer | OK
|  | Previously installed and operating | TEMP | OK
|  | Previously installed and operating | WS | OK
|  | Previously installed and operating | WD | OK
|  | Previously installed and operating | RH | OK
|  | Previously installed and operating | Ozone | OK
2003-08-10 | 2220PST | Power outage | Ozone | Stuck in "overrange"
2003-08-13 | 0930PST | Reset | Ozone | Back in service
| 1110PST | Removed from service - disk stuck in drive | Aethelometer | Out of service for repair
2003-08-19 | 1026PST | Reinstalled | Aethelometer | OK
2003-10-08 | 1011PST | Removed from service | Ozone | End of O3 season
2003-11-06 |  | Calibrated in lab | SO2 | Field ready
2003-12-03 | 1100PST | Installed | DRUM | Begin sampling
2003-12-15 |  | Installed | Nox | Not yet running
|  | Installed | SO2 | Not yet running
2003-12-18 | ? | Installed | OCEC | Begin sampling
2003-12-23 | 1330PST | Enabled | Nox | Begin sampling
|  | Enabled | SO2 | Begin sampling
2003-12-29 | 1215PST | Installed & Enabled | Nitrate | Begin sampling
|  | Installed & Enabled | Sulfate | Begin sampling
2003-12-29 |  | Ice & Snow |  | Unable to access site until 1/12/04
2004-01-08 | ? | Bad Disk | Aethelometer | Data missing 1/8-1/13
2004-01-18 | 1030PST | Lost data due to bad weather | Nitrate | Actual beginning of captured data
|  | Lost data due to bad weather | Sulfate | Actual beginning of captured data
WISHRAM (Page 2)
Date | Time | Action | Parameter | Status
2004-01-23 | 1200PST | Lost the outlet that was powering pumps | DRUM | All data suspect up to this point - back on line 1430PST
|  | Lost the outlet that was powering pumps | Nitrate | All data suspect up to this point - back on line 1320PST
|  | Lost the outlet that was powering pumps | Sulfate | All data suspect up to this point - back on line 1320PST
2004-03-04 | ? | Removed from service | OCEC | End of winter season
|  | Removed from service | Nitrate | End of winter season
|  | Removed from service | Sulfate | End of winter season
|  | Removed from service | DRUM | End of winter season
|  | Removed from service | Nox | End of winter season
|  | Removed from service | SO2 | End of winter season
2004-04-13 | 1100PST | Replaced Met chart recorder | MET | OK
2004-04-21 |  | Installed | Ozone | Not yet operating
2004-04-29 | 0929PST | Reset chart recorder to correct date/time/voltage | Met | OK
| 1116PST | Enabled Ozone & placed into service | Ozone | Begin season sampling
2004-06-03 | 0947PST | Neph probe cone/line/netting destroyed - | Nephelometer | Removed from service for replacement
Unable to establish zero
2004-06-08 | 1215PST | Lost TEMP at 0900, reestablished at 1215 | TEMP | 3.25 hours data lost
| 1225PST | Replaced sampler/cone/probe line | Nephelometer | Back in service and sampling
2004-08-12 | 1011PST | Disabled TEMP & installed new cable/probe | TEMP | Left disabled until d. logger can be reconfigured
2004-09-25 | 0000PST? | Debris in probe line. Instrument over range | Nephelometer | Instrument disabled until it can be replaced
2004-10-06 | 1133PST | Installed new TEMP probe | TEMP | OK
| 1235PST | Cleaned probe and replaced sampler | Nephelometer | OK
| 1133PST | Removed from service | Ozone` | End of season
2004-11-29 | ? | Moved equip. from Mt. Zion to Wishram | OCEC | Change to winter season
|  | Moved equip. from Mt. Zion to Wishram | Nitrate | Change to winter season
|  | Moved equip. from Mt. Zion to Wishram | Sulfate | Change to winter season
|  | Moved equip. from Mt. Zion to Wishram | Nox | Change to winter season
|  | Moved equip. from Mt. Zion to Wishram | SO2 | Change to winter season
WISHRAM (Page 3)
Date | Time | Action | Parameter | Status
2004-12-01 | 1350PST | Placed into service | OCEC | Begin sampling
| 1800PST | Placed into service | Nitrate | Begin sampling
| 2120PST | Analyzer failure - CPU board out | Nitrate | Off line until board can be replaced
| ? | Installed | DRUM | Begin sampling
2004-12-02 | 1400PST | Placed into service | Sulfate | Begin sampling
| 1400PST | Instrument calibrated and placed into service | Nox | Begin sampling
|  | Instrument calibrated and placed into service | SO2 | Begin sampling
2004-12-06 | 1530PST | Replaced CPU board - Placed back into service | Nitrate | OK
|  | System shutdown itself | OCEC | Lost data until 12/13/04
2004-12-13 | ? | System restarted | OCEC | OK
2004-12-16 | 1430PST | Recalibrated | Nitrate | OK
2004-12-22 | 1000PST | Replaced He tank and restarted system | OCEC | OK
2004-12-28 | ? | Lost OCEC again. System shutdown | OCEC | Lost data until 01/27/05
tried to restart - will call B. Cary, Sunset Labs
2004-12-30 | 0450PST | Flash Failure - changed flash strip | Sulfate | Back on line at 1410PST
2005-01-11 | 1200PST | Recalibrated and ran manual audit | Nitrate | OK
2005-01-29 | ? | Lost OCEC again. System shutdown | OCEC | OK
Checked gases and restarted
2005-02-23 | ? | Removed from service | DRUM | End of study
2005-03-01 | 1150PST | Removed from service | Nox | End of study
|  | Removed from service | SO2 | End of study
|  | Removed from service | Nitrate | End of study
|  | Removed from service | Sulfate | End of study
|  | Removed from service | OCEC | End of study

## Towal Rd.
Towal Rd.
Date | Time | Action | Parameter | Status
2003-07-02 |  | Previously installed and operating | Nephelometer | OK
|  | Previously installed and operating | WS | OK
|  | Previously installed and operating | WD | OK
|  | Previously installed and operating | RH | OK
|  | Previously installed and operating | Sodar | OK
|  | Replaced failing temp probe | TEMP | OK
2003-08-05 | ? | Power failure - reset | Sodar | Missing data through 8/7/03
2003-11-10 |  | Lost sodar data. Reset | Sodar | Missing data through 11/12?
2003-12-03 | 1300PST | Installed IAS Sampler | IAS | First sample 12/5/03
2003-12-22 | 1144PST | Broke Met chart recorder | Met recorder | No chart through 1/15/03
2003-12-28 | ? | Power failure - restart | Sodar | Missing data through 12/30/03
|  | Power failure - deleted timer program | IAS | Reprogrammed 1/15/04
2003-12-21 |  | Lost data - unable to access site | Nephelometer | Lost data through 1/11/04
|  | due to weather | Met | Lost data through 1/11/04
|  |  | IAS | Lost 5 samples through 1/13/04
2004-01-27 |  | Lost sodar connection | Sodar | No data 1/27, 1/28
Reset acoustic signal processor on 1/29/04
2004-02-19 | 1116PST | Removed IAS sampler from service | IAS | End of season - Last sample 2/18/04
2004-03-05 |  | Power failure - reset | Sodar | Missing data 3/5 through 3/9 @1200PST
2004-04-11 |  | Power failure - reset | Sodar | Missing data 4/11 through 4/13 @1000PST
|  | Power failure - problem with data logger | Nephelometer | Missing data 4/6 through 4/12 @1500PST
|  | Power failure - problem with data logger | Met | Missing data 4/6 through 4/12 @1500PST
2004-04-27 |  | Sodar failure - shutdown - reset | Sodar | Missing data 4/27 through 5/6 @0840PST
|  | Ran out of d. logger storage | Nephelometer | Missing data 4/27 through 4/30 @1100PST
|  | Ran out of d. logger storage | Met | Missing data 4/27 through 4/30 @1100PST
Towal Rd. (Page 2)
Date | Time | Action | Parameter | Status
2004-05-11 |  | Power failure - d. logger failure | Nephelometer | Missing data 5/11 through 5/16 @0500PST
|  |  | Met | Missing data 5/11 through 5/16 @0500PST
2004-06-03 |  | Power failure - reset | Sodar | Missing data 6/3 through 6/8 @0900PST
2004-07-14 |  | Power failure - reset | Sodar | No data beyond 7/14/04
2004-07-21 |  | Removed from service | Sodar | Installed at Washougal Waste Water Treatment Plant
2004-12-01 |  | Installed sampler | IAS | First sample to run 12/2/04
2004-12-09 |  | Installed Sodar | Sodar | Moved from Washougal
2004-12-28 |  | Begin data collection | Sodar | Begin data collection
2005-02-23 |  | IAS sampler removed from service | IAS | End of study
2005-03-01 |  | Shutdown | Nephelometer | End of study
|  |  | Met | End of study
2005-03-08 |  | Shutdown | Sodar | End of study - Moved back to Washougal

## Steigerwald
Steigerwald
Date | Time | Action | Parameter | Status
2003-07-09 |  | Equipment previously installed | Nephelometer | OK
|  | Equipment previously installed | Temp | OK
|  | Equipment previously installed | WS | OK
|  | Equipment previously installed | WD | OK
|  | Equipment previously installed | Rh | OK
2003-07-11 | 0930PST | Site lost power | All | Stop data collection
2003-07-14 | 1320PST | Power restored | All | OK
2003-09-11 | 1012PST | Replaced prop on WD | WD | OK
2004-03-09 | 1340PST | Found WD cable broken near base | WD | temp repair
2004-04-07 | 1203PST | Met WD wiring repaired | WD | OK
2004-04-20 | 1008PST | N. arrow replaced | WD | OK
2004-06-22 | 1429PST | Recalibrated | Nephelometer | OK
2004-08-11 | 1110PST | Zero failed. Replaced Neph | Nephelometer | OK
2004-08-26 | 1056PST | RH Audit failed | RH | DOE Notified
2004-09-08 | 1410PST | Failed zero. Bad flashlamp | Nephelometer | Will replace
2004-09-15 | 0908PST | Replaced neph | Nephelometer | OK
| 1033PST | Replaced WS & WD & rewired | WD/WS | OK
2004-09-27 | 1345PST | Adjusted zero & span | Nephelometer | Will install new pump next visit
2004-09-30 | 1216PST | Failed QC. Removed from service | Nephelometer | Left disabled
2004-10-05 | 1101PST | Installed new neph | Nephelometer | Back on line
2004-11-08 | 1523PST | Zero high | Nephelometer | Will install new zero air filter next visit
2004-11-17 | 1548PST | Used new zero filter & adjusted | Nephelometer | OK
Steigerwald (Page 2)
Date | Time | Action | Parameter | Status
2004-11-30 | 1426PST | Met cable severed by rodent | All Met | Will notify DOE
Spliced and reestablished TEMP
& WS. Could not get WD
2004-12-02 | 1055PST | No signal on Met | All Met | Left disabled
2004-12-07 | 1132PST | Replaced prop and cable | All Met | OK - back on line
| 1151PST | Replaced neph probe line | Nephelometer | OK - back on line
2004-12-15 | 1531PST | Data Logger failure | Nephelometer | Will replace on next visit
|  | Data Logger failure | All Met | Will replace on next visit
2004-12-21 | 1550PST | Replaced data logger | Nephelometer | Missing data 12/7 through 12/21
|  |  | All Met | Missing data 12/7 through 12/22
2005-03-03 | 0829PST | Removed from service | Nephelometer | End of study
|  | Removed from service | All Met | End of study

## Strunk Rd.
Strunk Rd.
Date | Time | Action | Parameter | Status
2003-07-01 |  | Equipment previously installed | Nephelometer | OK
|  | Equipment previously installed | TEMP | OK
|  | Equipment previously installed | WS | OK
|  | Equipment previously installed | WD | OK
|  | Equipment previously installed | RH | OK
2003-07-14 | 1303PST | Resecured d. logger wiring | All | OK
2003-07-31 | 1630PST | Replaced air conditioner | All | OK
2003-09-09 |  | Connector bad in d. logger | All | Will replace next visit
Rcd left off on chart last week
2003-09-11 | 1232PST | Replaced connector board on d. logger | All | OK
2003-11-19 |  | Reset Rh connection | Rh | OK
2003-12-16 |  | Reseated Temp wiring | Temp | Temp reading incorrect
Time on d. logger 30 min. fast
2003-12-17 | 1329PST | Corrected d. logger time | All | OK
2004-03-09 |  | Temp still 25 degrees low | Temp | Temporarily corrected
All temp to this point should be considered suspect
2004-04-12 | 1141PST | Replaced d. logger | All | OK
2004-10-25 | 0929PST | Neph not operating. Display stuck on "reset" | Nephelometer | Will replace next visit
2004-11-04 | 1225PST | Replaced Nephelometer | Nephelometer | OK
2005-03-03 | 1002PST | Removed from service | All | End of study