## OCEC
GORGE DATA FLAGS
Organic & Elemental Carbon
Parameter | Site | Collecting data | Flagged dates/times | Explanation of flags
OCEC | Wishram | 12/18/03 - 3/4/04
|  | 12/1/04 - 2/28/05 | 12/6/04 - 12/13/04 | System shutdown -- restarted
|  |  | 12/28/04 - 1/27/05 | System shutdown -- restarted by Senset Labs
|  |  | 1/29/05 (a.m.) | System shutdown -- restarted
OCEC | Bonneville - RI | 12/17/03 - 3/3/04
OCEC | Bonneville - CI | 6/30/04 - 2/28/05 | 10/18/04 - 10/19/04 @ 1700PST | System shutdown - restarted
|  |  | 1/17/05 @0744PST - 01/19/05 @1200PST | Ran out of He gas - shutdown -- changed tank and restarted
|  |  | 2/28/05 & previous week | Unusual event? Look at previous week's data
OCEC | Mt. Zion | 6/30/04 - 11/29/04 | 7/2/04 @ 0100PST - 7/7/04 @ 1100PST | Power failure - System shutdown -- restarted
|  |  | 10/18/04 - 10/19/04 @ 1500PST | Shutdown until due to burned out element.
Element replaced 10/19/04
|  |  | 11/10/04 @2300PST - 11/17/04 @ 1315PST | He gas low - manually restarted
|  |  | 11/21/04 - 11/22/04 @1200PST | Ran out of He gas - shutdown -- changed tank and restarted